## Sheet1
Source | Section | subsection | Page | Theme | item | Requirement body
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.4. Expectations for the generation, distribution and control of records | 15 | Data lifecycle | Generation | All documents should have a unique identification number (including the version number) and should be checked, approved, signed and dated.The use of uncontrolled documents should be prohibited by local procedures. The use of temporary recording practices, e.g. scraps of paper should be prohibited.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.4. Expectations for the generation, distribution and control of records | 16 | Data lifecycle | Generation | The document design should provide sufficient space for manual data entries.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.4. Expectations for the generation, distribution and control of records | 16 | Data lifecycle | Generation | The document design should make it clear what data is to be provided in entries.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.4. Expectations for the generation, distribution and control of records | 16 | Data lifecycle | Generation | Documents should be stored in a manner which ensures appropriate version control.Master copies should contain distinctive marking so to distinguish the master from a copy, e.g. use of coloured papers or inks so as to prevent inadvertent use. Master copy (in soft copy) should be prevented from unauthorised or inadvertent changes. E.g.: For the template records stored electronically, the following precautions should be in place: - Access to master templates should be controlled; - process controls for creating and updating versions should be clear and practically applied/verified; - master documents should be stored in a manner which prevents unauthorised changes;
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.4. Expectations for the generation, distribution and control of records | 17 | Data lifecycle | Distribution and control | Updated versions should be distributed in a timely manner. Obsolete master documents and files should be archived and their access restricted. Any issued and unused physical documents should be retrieved and reconciled. Where authorised by Quality, recovered copies of documents may be destroyed. However, master copies of authorised documents should be preserved.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.4. Expectations for the generation, distribution and control of records | 17 | Data lifecycle | True copies | Issue should be controlled by written procedures that include the following controls: - Details of who issued the copies and when they were issued. - using of a secure stamp, or paper colour code not available in the working areas or another appropriate system. - ensuring that only the current approved version is available for use. - allocating a unique identifier to each blank document issued and recording the issue of each document in a register. - Numbering every distributed copy (e.g.: copy 2 of 2) and sequential numbering of issued pages in bound books. - Where the re-issue of additional copies of the blank template is necessary, a controlled process regarding re-issue should be followed. All distributed copies should be maintained and a justification and approval for the need of an extra copy should be recorded, e.g.: “the original template record was damaged”. - All issued records should be reconciled following use to ensure the accuracy and completeness of records.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.6 Filling out records | 18 | Data lifecycle | Completion of records | Handwritten entries must be made by the person who executed the task.Unused, blank fields within documents should be crossed-out, dated and signed.Handwritten entries should be made in clear and legible writing.The completion of date fields should be done in the format defined for the site. E.g. dd/mm/yyyy or mm/dd/yyyy.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.6 Filling out records | 19 | Data lifecycle | Completion of records | Records relating to operations should be completed contemporaneously7.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.6 Filling out records | 19 | Data lifecycle | Completion of records | Records should be enduring (indelible).
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.6 Filling out records | 19 | Data lifecycle | Completion of records | Records should be signed and dated using a unique identifier that is attributable to the author.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.7 Making corrections on records | 20 | Data lifecycle | How should records be corrected? | Cross out what is to be changed with a single line.Where appropriate, the reason for the correction must be clearly recorded and verified if critical.Initial and date the change made.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.7 Making corrections on records | 20 | Data lifecycle | How should records be corrected? | Corrections must be made in indelible ink.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.8 Verification of records (secondary checks) | 20 | Data lifecycle | When and who should verify the records? | A- Records of critical process steps, e.g. critical steps within batch records, should be: reviewed/witnessed by designated personnel (e.g.: production supervisor) at the time of operations occurring; and - reviewed by an authorised person within the production department before sending them to the Quality Assurance unit ; and - reviewed and approved by the Quality Assurance Unit (e.g. Authorised Person / Qualified Person) before release or distribution of the batch produced. B- Batch production records of non-critical process steps is generally reviewed by production personnel according to an approved procedure.C- Laboratory records for testing steps should also be reviewed by designated personnel (e.g.: second analysts) following completion of testing. Reviewers are expected to check all entries, critical calculations, and undertake appropriate assessment of the veracity of test results in accordance with data-integrity principles.This verification must be conducted after performing production-related tasks and activities. This verification must be signed or initialled and dated by the appropriate persons.Local SOPs must be in place to describe the process for review of written documents.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.8 Verification of records (secondary checks) | 21 | Data lifecycle | How should records be verified? | Check that all the fields have been completed correctly using the current (approved) templates, and that the data was critically compared to the acceptance criteria.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.9 Direct print-outs from electronic systems | 22 | Data lifecycle | Direct print-outs from electronic systems | Some very simple electronic systems, e.g. balances, pH meters or simple processing equipment which do not store data, generate directly-printed paper records. These types of systems and records provide limited opportunity to influence the presentation of data by (re-)processing, changing of electronic date/time stamps. In these circumstances, the original record should be signed and dated by the person generating the record and information to ensure traceability, such as sample ID, batch number, etc. should be recorded on the record. These original records should 634 be attached to batch processing or testing records.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.10 True copies | 22 | Data lifecycle | How should the “true copy” be issued and controlled? | Creating a “true copy” of a paper document. At the company who issues the true copy: - Obtain the original of the document to be copied - Photocopy the original document ensuring that no information from the original copy is lost; - Verify the authenticity of the copied document and sign and date the new hardcopy as a “true copy”; Creating a “true copy” of an electronic document. A ‘true copy’ of an electronic record should be created by electronic means (electronic file copy), including all required metadata. Creating pdf versions of electronic data should be discouraged, as this is equivalent to a printout from the electronic system, which risks loss of metadata. A distribution list of all issued “true copies” (soft/hard) should be maintained.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.10 True copies | 23 | Data lifecycle | How should the “true copy” be issued and controlled? | At the company who receives the true copy: - The paper version, scanned copy or electronic file should be reviewed and filed according to good document management processes. The document should clearly indicate that it is a true copy and not an original record.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.12 Document retention | 24 | Data lifecycle | Where and how should records be archived? | A system should be in place describing the different steps for archiving records (identification of archive boxes, list of records by box, retention period, archiving location etc.).Instructions regarding the controls for storage, as well as access and recovery of records should be in place.Systems should ensure that all GMP/GDP relevant records are stored for periods that meet GMP/GDP requirements.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.12 Document retention | 24 | Data lifecycle | Where and how should records be archived? | All hardcopy quality records should be archived in: - secure locations to prevent damage or loss; - such a manner that it is easily traceable and retrievable. - a manner that ensures that records are durable for their archived life
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.12 Document retention | 25 | Data lifecycle | Where and how should records be archived? | All records should be protected from damage or destruction by: - fire; - liquids (e.g. water, solvents and buffer solution); - rodents; - humidity etc. - unauthorised personnel access, who may attempt to amend, destroy or replace records
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.12 Document retention | 25 | Data lifecycle | Where and how should records be archived? | Strategy for disaster recovery
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 8. Specific data integrity considerations for paper-based systems | 8.13 Disposal of original records | 25 | Data lifecycle | Disposal of original records | A documented process for the disposal of records should be in place to ensure that the correct original records are disposed of after the defined retention period. The system should ensure that current records are not destroyed by accident and that historical records do not inadvertently make their way back into the current record stream (e.g. Historical records confused/mixed with existing records.) A record/register should be available to demonstrate appropriate and timely archiving or destruction of retired records in accordance with local policies. Measures should be in place to reduce the risk of deleting the wrong documents. The access rights allowing deletion of records should be limited to few persons.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.2 Qualification and validation of computerised systems | 27 | System Lifecycle | System Validation & Maintenance | Regulated companies should implement appropriate systems to ensure that data management and integrity requirements are considered in the initial stages of system procurement and throughout system and data lifecycle. For GMP regulated users, Annex 15 requirements such as Functional Specifications (FS) and/or User Requirement Specifications (URS) should adequately address data management and integrity Specific attention should be paid to the purchase of GxP critical equipment to ensure that systems are appropriately evaluated for data integrity controls prior to purchase. Legacy systems in use should be evaluated to determine whether existing system configuration and functionality permits the appropriate control of data in accordance with good data management and integrity practices. Where system functionality or design of these systems does not provide an appropriate level of control, additional controls should be considered and implemented.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.2 Qualification and validation of computerised systems | 27 | System Lifecycle | System Validation & Maintenance | Regulated users should have an inventory of all computerised systems in use. This list should include reference to: - The name, location and primary function of each computerised system; - Assessments of the function and criticality of the system and associated data; (e.g. direct GMP/GDP impact, indirect impact, none) - The current validation status of each system and reference to existing validation documents.Risk assessments should be in place for each system, specifically assessing the necessary controls to ensure data integrity. The level and extent of validation of controls for data integrity should be determined based on the criticality of the system and process and potential risk to product quality, e.g. processes or systems that generate or control batch release data would generally require greater control than those systems managing less critical data or processes.Consideration should also be given to those systems with higher potential for disaster, malfunction or situations in which the system becomes inoperative.Assessments should also review the vulnerability of the system to inadvertent or unauthorised changes to critical configuration settings or manipulation of data. All controls should be documented and their effectiveness verified.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.2 Qualification and validation of computerised systems | 28 | Security and access control | System Validation & Maintenance | A Validation Summary Report for each computerised system (written and approved in accordance with Annex 15 requirements) should be in place and state (or provide reference to) at least the following items: - Critical system configuration details and controls for restricting access to configuration and any changes (change management). - A list of all currently approved normal and administrative users specifying the username and the role of the user. - Frequency of review of audit trails and system logs. - Procedures for: o how a new system user is created; o the process for the modification (change of privileges) for an existing user; o defining the combination/format of passwords for each system the process of reviewing and deleting users; o arrangements for back-up and frequency; o A reference to the disaster recovery procedure; o Process and responsibilities for data archiving, including procedures for accessing and reading archived data; o Approved locations for data storage. - The report should explain how the original data are retained with relevant metadata in a form that permits the reconstruction of the manufacturing process or the analytical activity.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.2 Qualification and validation of computerised systems | 29 | System Lifecycle | System Validation & Maintenance | Companies should have a Validation Master Plan in place that includes specific policies and validation requirements for computerised systems and the integrity of such systems and associated data. The extent of validation for computerised systems should be determined based on risk. Further guidance regarding assessing validation requirements for computerised systems may be found in PI 011. Before a system is put into routine use, it should be challenged with defined tests for conformance with the acceptance criteria.It would be expected that a prospective validation for computerised systems is conducted. Appropriate validation data must be available for systems already in-use.Computer system validation should be designed according to GMP Annex 15 with URS, FAT, SAT, IQ, OQ and PQ tests.Qualification testing includes Design Qualification (DQ); Installation qualification (IQ); Operational Qualification (OQ); and Performance Qualification (PQ). In particular, specific tests should be designed in order to challenge those areas where data quality or integrity is at risk.Companies should ensure that computerised systems are qualified for their intended use. Companies should therefore not place sole reliance on vendor qualification packages; validation exercises should include specific tests to ensure data integrity is maintained during operations that reflect normal and intended use The number of tests should be guided by a risk assessment but the criticalfunctionalities should be at least identified and tested, e.g., certain PLCs and systems based on basic algorithms or logic sets, the functional testing may provide adequate assurance of reliability of the computerised system. For critical and/or more complex systems, detailed verification testing is required during IQ, OQ & PQ stages.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.2 Qualification and validation of computerised systems | 30 | System Lifecycle | System Validation & Maintenance | Periodic System Evaluation Computerised systems should be evaluated periodically in order to ensure continued compliance with respect to Data Integrity controls. The evaluation should include deviations, changes (including any cumulative effect of changes), upgrade history, performance and maintenance, and assess whether these changes have had any detrimental effect on data management and integrity controls.The frequency of the re-evaluation should be based on a risk assessment depending on the criticality of the computerised systems considering the cumulative effect of changes to the system since last review. The assessment performed should be documented.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.2 Qualification and validation of computerised systems | 30 | System Lifecycle | System Validation & Maintenance | Operating systems and network components should be updated in a timely manner according to vendor recommendations and migration of applications from older to newer platforms should be planned and conduced in advance of the time before the platforms reach an unsupported state which may affect the management and integrity of data generated by the system.Security patches for operating systems and network components should be applied in a controlled and timely manner according to vendor recommendations in order to maintain data security.Where unsupported operating systems are maintained, i.e. old operating systems are used even after they run out of support by the vendor or supported versions are not security patched, the systems (servers) should be isolated as much as possible from the rest of the network. Remaining interfaces and data transfer to/from other equipment should be carefully designed, configured and qualified to prevent exploitation of the vulnerabilities caused by the unsupported operating system.Due to their inherent vulnerability, unsupported systems should not be accessible remotely.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.2 Qualification and validation of computerised systems | 32 | System Lifecycle | Data transfer between systems | Interfaces should be assessed and addressed during validation to ensure the correct and complete transfer of data.Interfaces should include appropriate built-in checks for the correct and secure entry and processing of data, in order to minimise data integrity risks. Verification methods may include the use of: o Secure transfer o Encryption o Check sums Where applicable, interfaces between systems should be designed and qualified to include an automated transfer of GxP data.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.2 Qualification and validation of computerised systems | 32 | System Lifecycle | Data transfer between systems | Where system software is installed or updated, the user should ensure that archived data can be read by the new software. Where necessary this may require conversion of existing archived data to the new format.Where conversion to the new data format of the new software is not possible, the old software should be maintained installed in one computer and also available as a backup media in order to have the opportunity to read the archived data in case of an investigation.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.3 System security for computerised systems | 33 | Security and access control | System security | User access controls shall be configured and enforced to prohibit unauthorised access to, changes to and deletion of data. The extent of security controls is dependent on the criticality of the computerised system. For example:- Individual Login IDs and passwords should be set up and assigned for all staff needing to access and utilise the specific electronic system. Shared login credentials do not allow for traceability to the individual who performed the activity. For this reason, shared passwords, even for reasons of financial savings, must be prohibited. - Input of data and changes to computerised records must be made only by authorised personnel. Companies should maintain a list of authorised individuals and their access privileges for each electronic system in use. - Appropriate controls should be in place regarding the format and use of passwords, to ensure that systems are effectively secured.- Upon initially having been granted system access, a system should allow the user to create a new password, following the normal password rules. - Systems should support different user access roles (levels) and assignment of a role should follow the least-privilege rule, i.e. assigning the minimum necessary access level for any job function. As a minimum, simple systems should have normal and admin users, but more for complex systems will typically requires more levels of users (a hierarchy) to effectively support access control.- Granting of administrator access rights to computer systems and infrastructure used to run GxP critical applications should be strictly controlled. Administrator access rights should not be given to normal users on the system (i.e. segregation of duties). - Normal users should not have access to critical aspects of the computer system, e.g. system clocks, file deletion functions, etc. - Systems should be able to generate a list of users with actual access to the system, including user names and roles. The list should be used during periodic user reviews.- Systems should be able to generate a list of successful and unsuccessful login attempts, including: o User name o User role o Date and time of the attempt o Session length (successful attempts) - User access controls should ensure strict segregation of duties, i.e. that all users on a system, who are conducting normal work tasks, should have only normal access rights. Normally, users with elevated access rights (e.g. admin) should not conduct normal work tasks on the system. - System administrators should normally be independent from users performing the task, and have no involvement or interest in the outcome of the data generated or available in the electronic system. For example, QC supervisors and managers should not be assigned as the system administrators for electronic systems in their laboratories (e.g., HPLC, GC, UV-Vis). Typically, individuals outside of the quality and production organisations (e.g., Information Technology administrators) should serve as have enhanced permission levels. - For smaller organisations, it may be permissible for a nominated person in the quality unit or production department to hold access as the system administrator; however, in these cases the administrator access should not be used for performing routine operations and the user should hold a second and restricted access for performing routine operations. In these cases all administrator activities conducted should be recorded and approved within the quality system. - Any request for new users, new privileges of users should be authorised by appropriate personnel (e.g. line manager and system owner) and forwarded to the system administrator in a traceable way in accordance with a standard procedure. - Computer systems giving access to GxP critical data or operations should have an inactivity logout, which, either at the application or the operating system level, logs out a user who has been inactive longer than a predefined time. The time should be shorter, rather than longer and should typically be set to prevent unauthorised access to systems. Upon activation of the inactivity logout, the system should require the user to go through the normal authentication procedure to login again.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.3 System security for computerised systems | 35 | Security and access control | System security | Computerised systems must be protected from accidental changes or deliberate manipulation. Companies should assess systems and their design to prevent unauthorised changes to validated settings that may ultimately affect data integrity. Consideration should be given to:- The physical security of computerised system hardware:o Location of and access to servers; o Restricting access to PLC modules, e.g. by locking access panels. o Physical access to computers, servers and media should be restricted to authorized individuals. Users on a system should not normally have access to servers and media.- Vulnerability of networked systems from local and external attack; - Remote network updates, e.g. automated updating of networked systems by the vendor. - Security of system settings, configurations and key data. Access to critical data/operating parameters of systems must be appropriately restricted and any changes to settings/configuration controlled through change management processes by authorised personnel. - The system clock should be synchronized with the clock of connected systems and access restricted to authorised personnel. - Firewalls should be setup to protect critical data and operations. Port openings (firewall rules) should be based on the least privilege policy, making the firewall rules as tight as possible and thereby allowing only permitting traffic.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.3 System security for computerised systems | 36 | Security and access control | System security | Firewall rules should be subject to periodic reviews against specifications in order to ensure that they are set as restrictive as necessary, allowing only permitted traffic. The reviews should be documented.Electronic signatures used in the place of handwritten signatures must have appropriate controls to ensure their authenticity and traceability to the specific person who electronically signed the record(s).Electronic signatures must be permanently linked to their respective record, i.e. if a later change is made to a signed record; the record must indicate the amendment and appear as unsigned.Where used, electronic signature functionality must automatically log the date and time when a signature was applied.The use of advanced forms of electronic signatures is becoming more common, e.g., the use of biometrics is becoming more prevalent by firms. The use of advanced forms of electronic signatures should be encouraged
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.3 System security for computerised systems | 37 | Security and access control | System security | Restrictions on use of USB devices For reasons of system security, USB ports should be default disabled on computer clients and servers hosting GxP critical data. If necessary, ports should only be opened for approved purposes and all USB devices should be properly scanned before use. The use of private USB devices (flash drives, cameras, smartphones, keyboards etc) on company computer clients and servers hosting GxP data, or the use of company USB devices on private computers, should not be allowed.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.4 Audit trails for computerised systems | 38 | Audit Trail | Audit Trail | Consideration should be given to data management and integrity requirements when purchasing and implementing computerised systems. Companies should select software that includes appropriate electronic audit trail functionality.Companies should endeavour to purchase and upgrade older systems to implement software that includes electronic audit trail functionality.It is acknowledged that some very simple systems lack appropriate audit trails; however, alternative arrangements to verify the veracity of data must be implemented, e.g. administrative procedures, secondary checks and controls. Additional guidance may be found under section 9.9 regarding Hybrid Systems.Audit trail functionality should be verified during validation of the system to ensure that all changes and deletions of critical data associated with each manual activity are recorded and meet ALCOA+ principles.Audit trail functionalities must be enabled and locked at all times and it must not be possible to deactivate the functionality. If it is possible for administrative users to deactivate the audit trail functionality, an automatic entry should be made in the audit trail indicating that the functionality has been deactivated.Companies should implement procedures that outline their policy and processes for the review of audit trails in accordance with risk management principles. Critical audit trails related to each operation should be independently reviewed with all other records related to the operation and prior to the review of the completion of the operation, e.g. prior to batch release, so as to ensure that critical data and changes to it are acceptable. This review should beperformed by the originating department, and where necessary verified by the quality unit, e.g. during self-inspection or investigative activities.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.4 Audit trails for computerised systems | 39 | Audit Trail | Audit Trail | Where available, audit trail functionalities for electronic-based systems should be assessed and configured properly to capture any critical activities relating to the acquisition, deletion, overwriting of and changes to data for audit purposes. Audit trails should be configured to record all manually initiated processes related to critical data.The system should provide a secure, computer generated, time stamped audit trail to independently record the date and time of entries and actions that create, modify, or delete electronic records.The audit trail should include the following parameters: - Who made the change - What was changed, incl. old and new values - When the change was made, incl. date and time - Why the change was made (reason) - Name of any person authorising the change. The audit trail should allow for reconstruction of the course of events relating to the creation, modification, or deletion of an electronic record.The system must be able to print and provide an electronic copy of the audit trail, and whether looked at in the system or in a copy, the audit trail should be available in a meaningful format.If possible, the audit trail should retain the dynamic functionalities found in the computer system, e.g. search functionality and export to e.g. Excel
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.5 Data capture/entry for computerised systems | 40 | Data lifecycle | Data capture/entry | Systems should be designed for the correct capture of data whether acquired through manual or automated means.For manual entry: - The entry of critical data should only be made by authorised individuals and the system should record details of the entry, the individual making the entry and when the entry was made. - Data should be entered in a specified format that is controlled by the software, validation activities should verify that invalid data formats are not accepted by the system. - All manual data entries of critical data should be verified, either by a second operator, or by a validated computerised means. - Changes to entries should be captured in the audit trail and reviewed by an appropriately authorised and independent person. For automated data capture: - The interface between the originating system, data acquisition and recording systems should be validated to ensure the accuracy of data. - Data captured by the system should be saved into memory in a format that is not vulnerable to manipulation, loss or change. - The system software should incorporate validated checks to ensure the completeness of data acquired, as well as any metadata associated with the data.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.5 Data capture/entry for computerised systems | 40 | Data lifecycle | Data capture/entry | Any necessary changes to data must be authorised and controlled in accordance with approved procedures.For example, manual integrations and reprocessing of laboratory results must be performed in an approved and controlled manner. The firm’s quality unit must establish measures to ensure that changes to data are performed only when necessary and by designated individuals. Original (unchanged) data should be retained in its original form.Any and all changes and modifications to original data must be fully documented and should be reviewed and approved by at least one appropriately trained and qualified individual.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.6 Review of data within computerised systems | 41 | Data lifecycle | Review of electronic data | The regulated user should perform a risk assessment in order to identify all the GMP/GDP relevant electronic data generated by the computerised systems, and the criticality of the data. Once identified, critical data should be audited by the regulated user and verified to determine that operations were performed correctly and whether any change (modification, deletion or overwriting) have been made to original information in electronic records. All changes must be duly authorised.An SOP should describe the process by which data is checked by a second operator. These SOPs should outline the critical raw data that is reviewed, a review of data summaries, review of any associated log-books and hard-copy records, and explain how the review is performed, recorded and authorised.The review of audit trails should be part of the routine data review within the approval process.The frequency, roles and responsibilities of audit trail review should be based on a risk assessment according to the GMP/GDP relevant value of the data recorded in the computerised system. For example, for changes of electronic data that can have a direct impact on the quality of the medicinal products, it would be expected to review audit trails prior to the point that the data is relied upon to make a critical decision, e.g. batch release. The regulated user should establish an SOP that describes in detail how to review audit trails, what to look for and how to perform searches etc. The procedure should determine in detail the process that the person in charge of the audit trail review should follow. The audit trail activity should be documented and recorded.Any significant variation from the expected outcome found during the audit trail review should be fully investigated and recorded. A procedure should describe the actions to be taken if a review of audit trails identifies serious issues that can impact the quality of the medicinal products or the integrity of data.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.6 Review of data within computerised systems | 42 | Data lifecycle | Review of electronic data | The company’s quality unit should establish a program and schedule to conduct ongoing reviews of audit trails based upon their criticality and the system’s complexity. These reviews should be incorporated into the company’s self-inspection programme.Procedures should be in place to address and investigate any audit trail discrepancies, including escalation processes for the notification of senior management and national authorities where necessary.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.7 Storage, archival and disposal of electronic data | 42 | Data lifecycle | Storage, archival and disposal of electronica data | Storage of data must include the entire original data and metadata, including audit trails, using a secure and validated process.If the data is backed up, or copies of it are made, then the backup and copies must also have the same appropriate levels of controls so as to prohibit unauthorised access to, changes to and deletion of data or their alteration. For example, a firm that backs up data onto portable hard drives must prohibit the ability to delete data from the hard drive. Some additional considerations for the storage and backup of data include: - True copies of dynamic electronic records can be made, with the expectation that the entire content (i.e., all data and metadata is included) and meaning of the original records are preserved. - Stored data should be accessible in a fully readable format. Companies may need to maintain suitable software and hardware to access electronically stored data backups or copies during the retention period - Routine backup copies should be stored in a remote location (physically separated) in the event of disasters. - Back-up data should be readable for all the period of the defined regulatory retention period, even if a new version of the software has been updated or substituted for one with better performance. - Systems should allow backup and restoration of all data, including meta-data and audit trails.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.7 Storage, archival and disposal of electronic data | 43 | Data lifecycle | Storage, archival and disposal of electronica data | The record retention procedures must include provisions for retaining the metadata. This allows for future queries or investigations to reconstruct the activities that occurred related to a batch.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.7 Storage, archival and disposal of electronic data | 43 | Data lifecycle | Storage, archival and disposal of electronica data | Data should be archived periodically in accordance with written procedures. Archive copies should be physically secured in a separate and remote location from where back up and original data are stored.The data should be accessible and readable and its integrity maintained for all the period of archiving.There should be in place a procedure for restoring archived data in case an investigation is needed. The procedure in place for restoring archived data should be regularly tested.If a facility is needed for the archiving process then specific environmental controls and only authorised personnel access should be implemented in order to ensure the protection of records from deliberate or inadvertent alteration or loss. When a system in the facility has to be retired because problems with long term access to data are envisaged, procedures should assure the continued readability of the data archived. For example, it could be established to transfer the data to another system.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.7 Storage, archival and disposal of electronic data | 44 | Data lifecycle | Storage, archival and disposal of electronica data | It should be possible to print out a legible and meaningful record of all the data generated by a computerised system (including metadata).If a change is performed to records, it should be possible to also print out the change of the record, indicating when and how the original data was changed.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.7 Storage, archival and disposal of electronic data | 44 | Data lifecycle | Storage, archival and disposal of electronica data | Procedures should be in place that describe the process for the disposal of electronically stored data. These procedures should provide guidance for the assessment of data and allocation of retention periods, and describe the manner in which data that is no longer required is disposed of.
PIC/S GUIDANCE : GOOD PRACTICES FOR DATA MANAGEMENT AND INTEGRITY IN REGULATED GMP/GDP ENVIRONMENTS | 9. SPECIFIC DATA INTEGRITY CONSIDERATIONS FOR COMPUTERISED SYSTEMS | 9.8 Management of Hybrid Systems | 44 | System Lifecycle | Management of Hybrid Systems | Hybrid systems require specific and additional controls in reflection of their complexity and potential increased vulnerability to manipulation of data.Each element of the hybrid system should be qualified and controlled in accordance with the guidance relating to manual and computerised systems as specified above.Appropriate quality risk management principles should be followed when assessing, defining, and demonstrating the effectiveness of control measures applied to the system.A detailed system description of the entire system should be available that outlines all major components of the system, the function of each component, controls for data management and integrity, and the manner in which system components interact.Procedures and records should be available to manage and appropriately control the interface between manual and automated systems, particularly steps associated with: - Manual input of manually generated data into computerised systems; - Transcription (including manual) of data generated by automated systems onto paper records; - Automated detection and transcription of printed data into computerised systems
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | Does each workflow on our computer system need to be validated? | 4 | System Lifecycle | Qualification/validation | Does each workflow on our computer system need to be validated? Yes, a workflow, such as creation of an electronic master production and control record 159 (MPCR), is an intended use of a computer system to be checked through validation (see 160 §§ 211.63, 211.68(b), and 211.110(a)). If you validate the computer system, but you do not validate it for its intended use, you cannot know if your workflow runs correctly.FDA recommends you implement appropriate controls to manage risks associated with each element of the system. Controls that are appropriately designed to validate a system for its intended use address software, hardware, personnel, and documentation.
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | How should access to CGMP computer systems be restricted? | 5 | Security and access control | Access control /administrator role | 4. How should access to CGMP computer systems be restricted? You must exercise appropriate controls to assure that changes to computerized MPCRs, or other records, or input of laboratory data into computerized records, can be made only by authorized personnel (§ 211.68(b)). FDA recommends that you restrict the ability to alter specifications, process parameters, or manufacturing or testing methods by technical means where possible (for example, by limiting permissions to change settings or data). FDA suggests that the system administrator role, including any rights to alter files and settings, be assigned to personnel independent from those responsible for the record content. To assist in controlling access, FDA recommends maintaining a list of authorized individuals and their access privileges for each CGMP computer system in use.If these independent security role assignments are not practical for small operations or facilities with few employees, such as PET or medical gas facilities, FDA recommends alternate control strategies be implemented. For example, in the rare instance that the same person is required to hold the system administrator role and to be responsible for the content of the records, FDA suggests having a second person review settings and content. If second-person review is not possible, the Agency recommends that the person recheck settings and his or her own work.
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | Why is FDA concerned with the use of shared login accounts for computer 197 systems? | 6 | Security and access control | Authentification | 5. Why is FDA concerned with the use of shared login accounts for computer 197 systems? You must exercise appropriate controls to assure that only authorized personnel make changes to computerized MPCRs, or other records, or input laboratory data into computerized records, and you must implement documentation controls that ensure 202 actions are attributable to a specific individual (see §§ .68(b), 211.188(b)(11), 203 211.194(a)(7) and (8), and .50(c)(10)). When login credentials are shared, a unique individual cannot be identified through the login and the system would thus not conform 205 to the CGMP requirements in parts 211 and 212. FDA requires that systems controls, including documentation controls, be designed to follow CGMP to assure product quality (for example, §§ 211.100 and 212.50).
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | 6. How should blank forms be controlled? | 6 | Data lifecycle | Data capture/entry | 6. How should blank forms be controlled? There must be document controls in place to assure product quality (see §§ 211.100, 212 211.160(a), 211.186, 212.20(d), and 212.60(g)). FDA recommends that, if used, blank forms (including, but not limited to, worksheets, laboratory notebooks, and MPCRs) be controlled by the quality unit or by another document control method. For example, numbered sets of blank forms may be issued as appropriate and should be reconciled upon completion of all issued forms. Incomplete or erroneous forms should be kept as part of the permanent record along with written justification for their replacement (for example, see §§ 211.192, 211.194, 212.50(a), and 212.70(f)(1)(vi)). Similarly, bound paginated notebooks, stamped for official use by a document control group, allow detection of unofficial notebooks as well as of any gaps in notebook pages.
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | 7. How often should audit trails be reviewed? | 6 | Audit Trail | Audit Trail | 7. How often should audit trails be reviewed? FDA recommends that audit trails that capture changes to critical data be reviewed with each record and before final approval of the record. Audit trails subject to regular review should include, but are not limited to, the following: the change history of finished product test results, changes to sample run sequences, changes to sample identification, and changes to critical process parameters. FDA recommends routine scheduled audit trail review based on the complexity of the 232 system and its intended use. See audit trail definition 1.c. above for further information on audit trails.
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | 8. Who should review audit trails? | 6 | Audit Trail | Audit Trail | 8. Who should review audit trails? Audit trails are considered part of the associated records. Personnel responsible for record review under CGMP should review the audit trails that capture changes to critical data associated with the record as they review the rest of the record (for example, §§ 211.22(a), 211.101(c), 211.194(a)(8), and 212.20(d)). For example, all production and control records, which includes audit trails, must be reviewed and approved by the quality unit (§ 211.192). This is similar to the expectation that cross-outs on paper be assessed when reviewing data.
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | 9. Can electronic copies be used as accurate reproductions of paper or electronic records? | 7 | Data lifecycle | True copies | 9. Can electronic copies be used as accurate reproductions of paper or electronic records? Yes. Electronic copies can be used as true copies of paper or electronic records, provided the copies preserve the content and meaning of the original data, which includes associated metadata and the static or dynamic nature of the original records.True copies of dynamic electronic records may be made and maintained in the format of the original records or in a compatible format, provided that the content and meaning of the original records are preserved and that a suitable reader and copying equipment (for example, software and hardware, including media readers) are readily available (§§ 211.180(d) and 212.110).
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | 10. Is it acceptable to retain paper printouts or static records instead of original electronic records from stand-alone computerized laboratory instruments, such as an FT-IR instrument? | 7 | Data lifecycle | Paper Printouts | 10. Is it acceptable to retain paper printouts or static records instead of original electronic records from stand-alone computerized laboratory instruments, such as an FT-IR instrument? A paper printout or static record may satisfy retention requirements if it is a complete copy of the original record (see §§ 211.68(b), 211.188, 211.194, and 212.60). For example, pH meters and balances may create a paper printout or static image during data acquisition as the original record. In this case, the paper printout or static image created during acquisition, or a true copy, should be retained (§ 211.180).However, electronic records from certain types of laboratory instruments are dynamic records, and a printout or a static record does not preserve the dynamic format which is part of the complete original record. For example, the spectral file created by FT-IR (Fourier transform infrared spectroscopy) can be reprocessed, but a static record or printout is fixed, which would not satisfy CGMP requirements to retain original records or true copies (§ 211.180(d)). Also, if the full spectrum is not displayed, contaminants may be excluded.Control strategies must ensure that original laboratory records, including paper and electronic records, are subject to second-person review (§ 211.194(a)(8)) to make certain that all test results are appropriately reported.For PET drugs, see the guidance for industry PET Drugs — Current Good Manufacturing Practice (CGMP) for discussion of equipment and laboratory controls, including regulatory requirements for records.
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | 11. Can electronic signatures be used instead of handwritten signatures for master production and control records? | 8 | Data lifecycle | Electronic signatures | 11. Can electronic signatures be used instead of handwritten signatures for master production and control records? Yes, electronic signatures with the appropriate controls can be used instead of handwritten signatures or initials in any CGMP required record. While § 211.186(a) specifies a “full signature, handwritten,” as explained in the Federal Register on September 29, 1978 (43 FR 45069), part of the intent of the full signature requirement is to be able to clearly identify the individual responsible for signing the record. An electronic signature with the appropriate controls to securely link the signature with the associated record fulfills this requirement. This comports with part 11, which establishes criteria for when electronic signatures are considered the legally binding equivalent of handwritten signatures. Firms using electronic signatures should document the controls used to ensure that they are able to identify the specific person who signed the records electronically.
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | 14. Is it acceptable to only save the final results from reprocessed laboratory chromatography? | 9 | Data lifecycle | Chromatography | 14. Is it acceptable to only save the final results from reprocessed laboratory chromatography? No. Analytical methods should be capable and stable. For most lab analyses, reprocessing data should not be regularly needed. If chromatography is reprocessed, written procedures must be established and followed and each result retained for review (see §§ 211.160(a), 211.160(b), 211.165(c), 211.194(a)(4), and 212.60(a)). FDA requires complete data in laboratory records, which includes raw data, graphs, charts, and spectra from laboratory instruments (§§ 211.194(a) and 212.60(g)(3)).
FDA: Data Integrity and Compliance With CGMP Guidance for Industry | QUESTIONS AND ANSWERS | 16. Should personnel be trained in detecting data integrity issues as part of a routine CGMP training program? | 10 | Management |  | 16. Should personnel be trained in detecting data integrity issues as part of a routine CGMP training program? Yes. Training personnel to detect data integrity issues is consistent with the personnel requirements under §§ 211.25 and 212.10, which state that personnel must have the education, training, and experience, or any combination thereof, to perform their assigned duties.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.7. Recording and collection of data | 10 | Data lifecycle | Data capture/entry | Organisations should have an appropriate level of process understanding and technical knowledge of systems used for data collection and recording, including their capabilities, limitations and vulnerabilities. The selected method should ensure that data of appropriate accuracy, completeness, content and meaning are collected and retained for their intended use. Where the capability of the electronic system permits dynamic storage, it is not appropriate for static (printed / manual) data to be retained in preference to dynamic (electronic) data. As data are required to allow the full reconstruction of activities the amount and the resolution (degree of detail) of data to be collected should be justified. When used, blank forms (including, but not limited to, worksheets, laboratory notebooks, and master production and control records) should be controlled. For example, numbered sets of blank forms may be issued and reconciled upon completion. Similarly, bound paginated notebooks, stamped or formally issued by a document control group allow detection of unofficial notebooks and any gaps in notebook pages.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.8. Data transfer / migration | 11 | System Lifecycle | Data transfer between systems | Data transfer/migration procedures should include a rationale, and be robustly designed and validated to ensure that data integrity is maintained during the data lifecycle. Careful consideration should be given to understanding the data format and the potential for alteration at each stage of data generation, transfer and subsequent storage. The challenges of migrating data are often underestimated, particularly regarding maintaining the full meaning of the migrated records. Data transfer should be validated. The data should not be altered during or after it is transferred to the worksheet or other application. There should be an audit trail for this process. Appropriate Quality procedures should be followed if the data transfer during the operation has not occurred correctly. Any changes in the middle layer software should be managed through appropriate Quality Management Systems. Electronic worksheets used in automation like paper documentation should be version controlled and any changes in the worksheet should be documented/verified appropriately.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.9. Data Processing | 11 | Data lifecycle | Data preprocessing | There should be adequate traceability of any user-defined parameters used within data processing activities to the raw data, including attribution to who performed the activity. Audit trails and retained records should allow reconstruction of all data processing activities regardless of whether the output of that processing is subsequently reported or otherwise used for regulatory or business purposes. If data processing has been repeated with progressive modification of processing parameters this should be visible to ensure that the processing parameters are not being manipulated to achieve a more desirable result.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.10. Excluding Data | 11 | Data lifecycle | Data exclusion | Data may only be excluded where it can be demonstrated through valid scientific justification that the data are not representative of the quantity measured, sampled or acquired. In all cases, this justification should be documented and considered during data review and reporting. All data (even if excluded) should be retained with the original data set, and be available for review in a format that allows the validity of the decision to exclude the data to be confirmed.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.11. Original record and true copy | 12 | Data lifecycle | Original record | Where the data obtained requires manual observation to record (for example results of a manual titration, visual interpretation of environmental monitoring plates) the process should be risk assessed and depending on the criticality, justify if a second contemporaneous verification check is required or investigate if the result could be captured by an alternate means.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.11. Original record and true copy | 12 | Data lifecycle | True copies | A true copy may be stored in a different electronic file format to the original record if required, but must retain the metadata and audit trail required to ensure that the full meaning of the data are kept and its history may be reconstructed. Original records and true copies must preserve the integrity of the record. True copies of original records may be retained in place of the original record (e.g. scan of a paper record), if a documented system is in place to verify and record the integrity of the copy. Organisations should consider any risk associated with the destruction of original records. It should be possible to create a true copy of electronic data, including relevant metadata, for the purposes of review, backup and archival. Accurate and complete copies for certification of the copy should include the meaning of the data (e.g. date formats, context, layout, electronic signatures and authorisations) and the full GXP audit trail. Consideration should be given to the dynamic functionality of a ‘true copy’ throughout the retention period (see ‘archive’). Data must be retained in a dynamic form where this is critical to its integrity or later verification. If the computerised system cannot be maintained e.g., if it is no longer supported, then records should be archived according to a documented archiving strategy prior to decommissioning the computerised system. It is conceivable for some data generated by electronic means to be retained in an acceptable paper or electronic format, where it can be justified that a static record maintains the integrity of the original data. However, the data retention process must be shown to include verified copies of all raw data, metadata, relevant audit trail and result files, any variable software/system configuration settings specific to each record, and all data processing runs (including methods and audit trails) necessary for reconstruction of a given raw data set. It would also require a documented means to verify that the printed records were an accurate representation. To enable a GXP compliant record this approach is likely to be demanding in its administration. Where manual transcriptions occur, these should be verified by a second person or validated system.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.12. Computerised system transactions: | 13 | System Lifecycle | Qualification/validation | A critical step is a parameter that must be within an appropriate limit, range, or distribution to ensure the safety of the subject or quality of the product or data. Computer systems should be designed to ensure that the execution of critical steps is recorded contemporaneously. Where transactional systems are used, the combination of multiple unit operations into a combined single transaction should be avoided, and the time intervals before saving of data should be minimised. Systems should be designed to require saving data to permanent memory before prompting users to make changes. The organisation should define during the development of the system (e.g. via the user requirements specification) what critical steps are appropriate based on the functionality of the system and the level of risk associated. Critical steps should be documented with process controls that consider system design (prevention), together with monitoring and review processes. Oversight of activities should alert to failures that are not addressed by the process design.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.13. Audit Trail | 13 | Audit Trail | Audit Trail | Where computerised systems are used to capture, process, report, store or archive raw data electronically, system design should always provide for the retention of audit trails to show all changes to, or deletion of data while retaining previous and original data. It should be possible to associate all data and changes to data with the persons making those changes, and changes should be dated and time stamped (time and time zone where applicable). The reason for any change, should also be recorded. The items included in the audit trail should be those of relevance to permit reconstruction of the process or activity. Audit trails (identified by risk assessment as required) should be switched on. Users should not be able to amend or switch off the audit trail. Where a system administrator amends, or switches off the audit trail a record of that action should be retained. The relevance of data retained in audit trails should be considered by the organisation to permit robust data review/verification. It is not necessary for audit trail review to include every system activity (e.g. user log on/off, keystrokes etc.). Where relevant audit trail functionality does not exist (e.g. within legacy systems) an alternative control may be achieved for example defining the process in an SOP, and use of log books. Alternative controls should be proven to be effective. Where add-on software or a compliant system does not currently exist, continued use of the legacy system may be justified by documented evidence that a compliant solution is being sought and that mitigation measures temporarily support the continued use. 1 Routine data review should include a documented audit trail review where this is determined by a risk assessment. When designing a system for review of audit trails, this may be limited to those with GXP relevance. Audit trails may be reviewed as a list of relevant data, or by an ‘exception reporting' process. An exception report is a validated search tool that identifies and documents predetermined ‘abnormal’ data or actions, that require further attention or investigation by the data reviewer. Reviewers should have sufficient knowledge and system access to review relevant audit trails, raw data and metadata (see also ‘data governance’).Where systems do not meet the audit trail and individual user account expectations, demonstrated progress should be available to address these shortcomings. This should either be through add-on software that provides these additional functions or by an upgrade to a compliant system. Where remediation has not been identified or subsequently implemented in a timely manner a deficiency may be cited.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.14. Electronic signatures | 14 | Data lifecycle | Electronic signatures | A signature in digital form (bio-metric or non-biometric) that represents the signatory. This should be equivalent in legal terms to the handwritten signature of the signatory. The use of electronic signatures should be appropriately controlled with consideration given to: • How the signature is attributable to an individual. • How the act of ‘signing’ is recorded within the system so that it cannot be altered or manipulated without invalidating the signature or status of the entry. • How the record of the signature will be associated with the entry made and how this can be verified. • The security of the electronic signature i.e. so that it can only be applied by the ‘owner’ of that signature. It is expected that appropriate validation of the signature process associated with a system is undertaken to demonstrate suitability and that control over signed records is maintained. Where a paper or pdf copy of an electronically signed document is produced, the metadata associated with an electronic signature should be maintained with the associated document. The use of electronic signatures should be compliant with the requirements of international standards. The use of advanced electronic signatures should be considered where this method of authentication is required by the risk assessment. Electronic signature or E-signature systems must provide for “signature manifestations” i.e. a display within the viewable record that defines who signed it, their title, and the date (and time, if significant) and the meaning of the signature (e.g. verified or approved). An inserted image of a signature or a footnote indicating that the document has been electronically signed (where this has been entered by a means other than the validated electronic signature process) is not adequate. Where a document is electronically signed then the metadata associated with the signature should be retained.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.15. Data review and approval | 15 | Data lifecycle | Data review and approval | The approach to reviewing specific record content, such as critical data and metadata, cross-outs (paper records) and audit trails (electronic records) should meet all applicable regulatory requirements and be risk-based. There should be a procedure that describes the process for review and approval of data. Data review should also include a risk-based review of relevant metadata, including relevant audit trails records. Data review should be documented and the record should include a positive statement regarding whether issues were found or not, the date that review was performed and the signature of the reviewer. A procedure should describe the actions to be taken if data review identifies an error or omission. This procedure should enable data corrections or clarifications to provide visibility of the original record, and traceability of the correction, using ALCOA principles (see ‘data’ definition). Where data review is not conducted by the organisation that generated the data, the responsibilities for data review must be documented and agreed by both parties. Summary reports of data are often supplied between organisations (contract givers and acceptors). It must be acknowledged that summary reports are limited and critical supporting data and metadata may not be included. Many software packages allow configuration of customised reports. Key actions may be incorporated into such reports provided they are validated and locked to prevent changes. Automated reporting tools and reports may reduce the checks required to assure the integrity of the data. Where summary reports are supplied by a different organisation, the organisation receiving and using the data should evaluate the data provider’s data integrity controls and processes prior to using the information. • Routine data review should consider the integrity of an individual data set e.g. is this the only data generated as part of this activity? Has the data been generated and maintained correctly? Are there indicators of unauthorised changes? • Periodic audit of the data generated (encompassing both a review of electronically generated data and the broader organisational review) might verify the effectiveness of existing control measures and consider the possibility of unauthorised activity at all interfaces, e.g. have there been IT requests to amend any data post review? Have there been any system maintenance activities and has the impact of that activity been assessed?
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.16. Computerised system user access/system administrator roles | 16 | Security and access control | Access control /administrator role | Full use should be made of access controls to ensure that people have access only to functionality that is appropriate for their job role, and that actions are attributable to a specific individual. Companies must be able to demonstrate the access levels granted to individual staff members and ensure that historical information regarding user access level is available. Where the system does not capture this data, then a record must be maintained outside of the system. Access controls should be applied to both the operating system and application levels. Individual login at operating system level may not be required if appropriate controls are in place to ensure data integrity (e.g. no modification, deletion or creation of data outside the application is possible). For systems generating, amending or storing GXP data shared logins or generic user access should not be used. Where the computerised system design supports individual user access, this function must be used. This may require the purchase of additional licences. Systems (such as MRP systems) that are not used in their entirety for GXP purposes but do have elements within them, such as approved suppliers, stock status, location and transaction histories that are GXP applicable require appropriate assessment and control. It is acknowledged that some computerised systems support only a single user login or limited numbers of user logins. Where no suitable alternative computerised system is available, equivalent control may be provided by third-party software or a paper-based method of providing traceability (with version control). The suitability of alternative systems should be justified and documented. Increased data review is likely to be required for hybrid systems. because they are vulnerable to non-attributable data changes. It is expected that companies should be implementing systems that comply with current regulatory expectations2. System administrator access should be restricted to the minimum number of people possible taking account of the size and nature of the organisation. The generic system administrator account should not be available for routine use. Personnel with system administrator access should log in with unique credentials that allow actions in the audit trail(s) to be attributed to a specific individual. The intent of this is to prevent giving access to users with potentially a conflict of interest so that they can make unauthorised changes that would not be traceable to that person. System Administrator rights (permitting activities such as data deletion, database amendment or system configuration changes) should not be assigned to individuals with a direct interest in the data (data generation, data review or approval). Individuals may require changes in their access rights depending on the status of clinical trial data. For example, once data management processes are complete, the data is ‘locked’ by removing editing access rights. This should be able to be demonstrated within the system.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.17. Data retention | 17 | Data lifecycle | Data retention | Data retention may be for archiving (protected data for long-term storage) or backup (data for the purposes of disaster recovery). Data and document retention arrangements should ensure the protection of records from deliberate or inadvertent alteration or loss. Secure controls must be in place to ensure the data integrity of the record throughout the retention period and should be validated where appropriate (see also data transfer/migration). Data (or a true copy) generated in paper format may be retained by using a validated scanning process provided there is a documented process in place to ensure that the outcome is a true copy. Procedures for destruction of data should consider data criticality and where applicable legislative retention requirements.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.17.1. Archive | 18 | Data lifecycle | Data archiving | Archived records may be the original record or a ‘true copy’ and should be protected so they cannot be altered or deleted without detection and protected against any accidental damage such as fire or pest. Archive arrangements must be designed to permit recovery and readability of the data and metadata throughout the required retention period. In the case of archiving of electronic data, this process should be validated, and in the case of legacy systems the ability to review data periodically verified (i.e. to confirm the continued support of legacy computerised systems). Where hybrid records are stored, references between physical and electronic records must be maintained such that full verification of events is possible throughout the retention period. When legacy systems can no longer be supported, consideration should be given to maintaining the software for data accessibility purposes (for as long possible depending upon the specific retention requirements). This may be achieved by maintaining software in a virtual environment. Migration to an alternative file format that retains as much as possible of the ‘true copy’ attributes of the data may be necessary with increasing age of the legacy data. Where migration with full original data functionality is not technically possible, options should be assessed based on risk and the importance of the data over time. The migration file format should be selected considering the balance of risk between long-term accessibility versus the possibility of reduced dynamic data functionality (e.g. data interrogation, trending, re-processing etc). It is recognised that the need to maintain accessibility may require migration to a file format that loses some attributes and/or dynamic data functionality (see also ‘Data Migration’).
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.17.2. Backup | 18 | Data lifecycle | Data Backup | Backup and recovery processes should be validated and periodically tested. Each back up should be verified to ensure that it has functioned correctly e.g. by confirming that the data size transferred matches that of the original record. The backup strategies for the data owners should be documented. Backups for recovery purposes do not replace the need for the long term, retention of data and metadata in its final form for the purposes of verification of the process or activity.
MHRA : ‘GXP’ Data Integrity Guidance and Definitions | 6. Definition of terms and interpretation of requirements | 6.19. Validation – for intended purpose (GMP; See also Annex 11, 15) | 19 | System Lifecycle | Qualification/validation | Computerised systems should comply with regulatory requirements and associated guidance. These should be validated for their intended purpose which requires an understanding of the computerised system’s function within a process. For this reason, the acceptance of vendor-supplied validation data in isolation of system configuration and users intended use is not acceptable. In isolation from the intended process or end-user IT infrastructure, vendor testing is likely to be limited to functional verification only and may not fulfil the requirements for performance qualification. Functional verification demonstrates that the required information is consistently and completely presented. Validation for intended purpose ensures that the steps for generating the custom report accurately reflect those described in the data checking SOP and that the report output is consistent with the procedural steps for performing the subsequent review.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Project Phase | 4. Validation | 2 | System Lifecycle | Qualification/validation | 4.1 The validation documentation and reports should cover the relevant steps of the life cycle. Manufacturers should be able to justify their standards, protocols, acceptance criteria, procedures and records based on their risk assessment. 4.2 Validation documentation should include change control records (if applicable) and reports on any deviations observed during the validation process. 4.3 An up to date listing of all relevant systems and their GMP functionality (inventory) should be available. For critical systems an up to date system description detailing the physical and logical arrangements, data flows and interfaces with other systems or processes, any hardware and software pre-requisites, and security measures should be available. 4.4 User Requirements Specifications should describe the required functions of the computerised system and be based on documented risk assessment and GMP impact. User requirements should be traceable throughout the life-cycle. 4.5 The regulated user should take all reasonable steps, to ensure that the system has been developed in accordance with an appropriate quality management system. The supplier should be assessed appropriately. 4.6 For the validation of bespoke or customised computerised systems there should be a process in place that ensures the formal assessment and reporting of quality and performance measures for all the life-cycle stages of the system. 4.7 Evidence of appropriate test methods and test scenarios should be demonstrated. Particularly, system (process) parameter limits, data limits and error handling should be considered. Automated testing tools and test environments should have documented assessments for their adequacy. 4.8 If data are transferred to another data format or system, validation should include checks that data are not altered in value and/or meaning during this migration process.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 5. Data | 3 | System Lifecycle | Data transfer between systems | Computerised systems exchanging data electronically with other systems should include appropriate built-in checks for the correct and secure entry and processing of data, in order to minimize the risks.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 6. Accuracy Checks | 3 | Data lifecycle | Data capture/entry | For critical data entered manually, there should be an additional check on the accuracy of the data. This check may be done by a second operator or by validated electronic means. The criticality and the potential consequences of erroneous or incorrectly entered data to a system should be covered by risk management.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 7. Data Storage | 3 | Data lifecycle | Data storage | 7.1 Data should be secured by both physical and electronic means against damage. Stored data should be checked for accessibility, readability and accuracy. Access to data should be ensured throughout the retention period. 7.2 Regular back-ups of all relevant data should be done. Integrity and accuracy of backup data and the ability to restore the data should be checked during validation and monitored periodically.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 8. Printouts | 4 | Data lifecycle | Printouts | 8.1 It should be possible to obtain clear printed copies of electronically stored data. 8.2 For records supporting batch release it should be possible to generate printouts indicating if any of the data has been changed since the original entry.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 9. Audit Trails | 4 | Audit Trail | Audit Trail | Consideration should be given, based on a risk assessment, to building into the system the creation of a record of all GMP-relevant changes and deletions (a system generated "audit trail"). For change or deletion of GMP-relevant data the reason should be documented. Audit trails need to be available and convertible to a generally intelligible form and regularly reviewed.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 11. Periodic evaluation | 4 | System Lifecycle | Qualification/validation | state and are compliant with GMP. Such evaluations should include, where appropriate, the current range of functionality, deviation records, incidents, problems, upgrade history, performance, reliability, security and validation status reports.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 12. Security | 4 | System Lifecycle | Access control /administrator role | 12.1 Physical and/or logical controls should be in place to restrict access to computerised system to authorised persons. Suitable methods of preventing unauthorised entry to the system may include the use of keys, pass cards, personal codes with passwords, biometrics, restricted access to computer equipment and data storage areas. 12.2 The extent of security controls depends on the criticality of the computerised system. 12.3 Creation, change, and cancellation of access authorisations should be recorded. 12.4 Management systems for data and for documents should be designed to record the identity of operators entering, changing, confirming or deleting data including date and time.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 14. Electronic Signature | 4 | Data lifecycle | Electronic signatures | Electronic records may be signed electronically. Electronic signatures are expected to: a. have the same impact as hand-written signatures within the boundaries of the company, b. be permanently linked to their respective record, c. include the time and date that they were applied.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Annex 11: Computerised Systems | Operational Phase | 17. Archiving | 5 | Data lifecycle | Data archiving | Data may be archived. This data should be checked for accessibility, readability and integrity. If relevant changes are to be made to the system (e.g. computer equipment or programs), then the ability to retrieve the data should be ensured and tested.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Chapter 4: Documentation | Generation and Control of Documentation |  | 3 | Data lifecycle | Data capture/entry | 4.2 Documents should be designed, prepared, reviewed, and distributed with care. They should comply with the relevant parts of Product Specification Files, Manufacturing and Marketing Authorisation dossiers, as appropriate. The reproduction of working documents from master documents should not allow any error to be introduced through the reproduction process. 4.3 Documents containing instructions should be approved, signed and dated by appropriate and authorised persons. Documents should have unambiguous contents and be uniquely identifiable. The effective date should be defined. 4.4 Documents containing instructions should be laid out in an orderly fashion and be easy to check. The style and language of documents should fit with their intended use. Standard Operating Procedures, Work Instructions and Methods should be written in an imperative mandatory style. 4.5 Documents within the Quality Management System should be regularly reviewed and kept up-to-date. 4.6 Documents should not be hand-written; although, where documents require the entry of data, sufficient space should be provided for such entries.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Chapter 4: Documentation | Good Documentation Practices |  | 4 | Data lifecycle | Data capture/entry | 4.7 Handwritten entries should be made in clear, legible, indelible way. 4.8 Records should be made or completed at the time each action is taken and in such a way that all significant activities concerning the manufacture of medicinal products are traceable. 4.9 Any alteration made to the entry on a document should be signed and dated; the alteration should permit the reading of the original information. Where appropriate, the reason for the alteration should be recorded.
EudraLex The Rules Governing Medicinal Products in the European Union Volume 4 Good Manufacturing Practice Medicinal Products for Human and Veterinary Use Chapter 4: Documentation | Retention of Documents |  | 4 | Data lifecycle | Data retention | 4.10 It should be clearly defined which record is related to each manufacturing activity and where this record is located. Secure controls must be in place to ensure the integrity of the record throughout the retention period and validated where appropriate. 4.11 Specific requirements apply to batch documentation which must be kept for one year after expiry of the batch to which it relates or at least five years after certification of the batch by the Qualified Person, whichever is the longer. For investigational medicinal products, the batch documentation must be kept for at least five years after the completion or formal discontinuation of the last clinical trial in which the batch was used. Other requirements for retention of documentation may be described in legislation in relation to specific types of product (e.g. Advanced Therapy Medicinal Products) and specify that longer retention periods be applied to certain documents. 4.12 For other types of documentation, the retention period will depend on the business activity which the documentation supports. Critical documentation, including raw data (for example relating to validation or stability), which supports information in the Marketing Authorisation should be retained whilst the authorization remains in force. It may be considered acceptable to retire certain documentation (e.g. raw data supporting validation reports or stability reports) where the data has been superseded by a full set of new data. Justification for this should be documented and should take into account the requirements for retention of batch documentation; for example, in the case of process validation data, the accompanying raw data should be retained for a period at least as long as the records for all batches whose release has been supported on the basis of that validation exercise. The following section gives some examples of required documents. The quality management system should describe all documents required to ensure product quality and patient safety.
CFR Title 21 Chapter I Subchapter A | part 11 | Subpart C—Electronic Signatures |  | Data lifecycle | Electronic signatures | ach electronic signature shall be unique to one individual and shall not be reused by, or reassigned to, anyone else. (b) Before an organization establishes, assigns, certifies, or otherwise sanctions an individual's electronic signature, or any element of such electronic signature, the organization shall verify the identity of the individual. (c) Persons using electronic signatures shall, prior to or at the time of such use, certify to the agency that the electronic signatures in their system, used on or after August 20, 1997, are intended to be the legally binding equivalent of traditional handwritten signatures. (1) The certification shall be signed with a traditional handwritten signature and submitted in electronic or paper form. Information on where to submit the certification can be found on FDA's web page on Letters of Non-Repudiation Agreement. (2) Persons using electronic signatures shall, upon agency request, provide additional certification or testimony that a specific electronic signature is the legally binding equivalent of the signer's handwritten signature.(a) Electronic signatures that are not based upon biometrics shall: (1) Employ at least two distinct identification components such as an identification code and password. (i) When an individual executes a series of signings during a single, continuous period of controlled system access, the first signing shall be executed using all electronic signature components; subsequent signings shall be executed using at least one electronic signature component that is only executable by, and designed to be used only by, the individual. (ii) When an individual executes one or more signings not performed during a single, continuous period of controlled system access, each signing shall be executed using all of the electronic signature components. (2) Be used only by their genuine owners; and (3) Be administered and executed to ensure that attempted use of an individual's electronic signature by anyone other than its genuine owner requires collaboration of two or more individuals. (b) Electronic signatures based upon biometrics shall be designed to ensure that they cannot be used by anyone other than their genuine owners.
CFR Title 21 Chapter I Subchapter A | part 11 | Subpart C—Electronic Signatures 11.300 |  | Security and access control | Access control /administrator role | (a) Maintaining the uniqueness of each combined identification code and password, such that no two individuals have the same combination of identification code and password. (b) Ensuring that identification code and password issuances are periodically checked, recalled, or revised (e.g., to cover such events as password aging). (c) Following loss management procedures to electronically deauthorize lost, stolen, missing, or otherwise potentially compromised tokens, cards, and other devices that bear or generate identification code or password information, and to issue temporary or permanent replacements using suitable, rigorous controls. (d) Use of transaction safeguards to prevent unauthorized use of passwords and/or identification codes, and to detect and report in an immediate and urgent manner any attempts at their unauthorized use to the system security unit, and, as appropriate, to organizational management. (e) Initial and periodic testing of devices, such as tokens or cards, that bear or generate identification code or password information to ensure that they function properly and have not been altered in an unauthorized manner.
TRS 1033 - Annex 4: WHO Guideline on data integrity | 10. Good documentation practices (paper data) | 10. Good documentation practices (paper data) | 13 | Data lifecycle | Documentation practices | 10.1. Good documentation practices should be implemented and enforced to ensure compliance with ALCOA+ principles. 10.2. Data and recorded media should be durable. Ink should be indelible. Temperature-sensitive or photosensitive inks and other erasable inks should not be used. Where related risks are identified, means should be identified in order to ensure traceability of the data over their life cycle. 10.3. Paper should not be temperature-sensitive, photosensitive or easily oxidizable. If this is not feasible or limited, then true or certified copies should be generated. 10.4. Specific controls should be implemented in order to ensure the integrity of raw data and results recorded on paper records. These may include, but are not limited to: ■ control over the issuance and use of loose paper sheets at the time of recording data; ■ no use of pencil or erasers; ■ use of single-line cross-outs to record changes with the identifiable person who made the change, date and reason for the change recorded (i.e. the paper equivalent to an electronic audit trail); ■ no use of correction fluid or otherwise, obscuring the original record; ■ controlled issuance of bound, paginated notebooks; ■ controlled issuance and reconciliation of sequentially numbered copies of blank forms with authenticity controls; ■ maintaining a signature and initial record for traceability and defining the levels of signature of a record; and ■ archival of records by designated personnel in secure and controlled archives.
TRS 1033 - Annex 4: WHO Guideline on data integrity | 11. Computerized systems | 11. Computerized systems | 14 | System Lifecycle | Qualification/validation | 11.2. Where GxP systems are used to acquire, record, transfer, store or process data, management should have appropriate knowledge of the risks that the system and users may pose to the integrity of the data. 11.3. Software of computerized systems, used with GxP instruments and equipment, should be appropriately configured (where required) and validated. The validation should address for example the design, implementation and maintenance of controls in order to ensure the integrity of manually and automatically acquired data; ensure that Good Documentation Practices will be implemented; and that data integrity risks will be appropriately managed throughout the data life cycle. The potential for unauthorized and adverse manipulation of data during the life cycle of the data should be mitigated and, where possible, eliminated. 11.4. Where electronic instruments (e.g. certain pH meters, balances and thermometers) or systems with no configurable software and no electronic data retention are used, controls should be put in place to prevent the adverse manipulation of data and to prevent repeat testing to achieve the desired result. 11.5. Appropriate controls for the detection of lapses in data integrity principles should be in place. Technical controls should be used whenever possible but additional procedural or administrative controls should be implemented to manage aspects of computerised system control where technical controls are missing. For example, when stand-alone computerized systems with a user-configurable output are used, Fouriertransform infrared spectroscopy (FTIR) and UV spectrophotometers have user-configurable output or reports that cannot be controlled using technical controls. Other examples of non-technical detection and prevention mechanisms may include, but are not limited to, instrument usage logbooks and electronic audit trails.
TRS 1033 - Annex 4: WHO Guideline on data integrity | 11. Computerized systems | Access and privileges | 15 | System Lifecycle | Access control /administrator role | 11.6. There should be a documented system in place that defines the access and privileges of users of systems. There should be no discrepancy between paper records and electronic records where paper systems are used to request changes for the creation and inactivation of users. Inactivated users should be retained in the system. A list of active and inactivated users should be maintained throughout the system life cycle. 11.7. Access and privileges should be in accordance with the role and responsibility of the individual with the appropriate controls to ensure data integrity (e.g. no modification, deletion or creation of data outside the defined privilege and in accordance with the authorized procedures defining review and approval where appropriate). 11.8. A limited number of personnel, with no conflict of interest in data, should be appointed as system administrators. Certain privileges such as data deletion, database amendment or system configuration changes should not be assigned to administrators without justification – and such activities should only be done with documented evidence of authorization by another responsible person. Records should be maintained and audit trails should be enabled in order to track activities of system administrators. As a minimum, activity logging for such accounts and the review of logs by designated roles should be conducted in order to ensure appropriate oversight. 11.9. For systems generating, amending or storing GxP data, shared logins or generic user access should not be used. The computerised system design should support individual user access. Where a computerised system supports only a single user login or limited numbers of user logins and no suitable alternative computerised system is available, equivalent control should be provided by third-party software or a paper-based method that provides traceability (with version control). The suitability of alternative systems should be justified and documented (8). The use of legacy hybrid systems should be discouraged and a priority timeline for replacement should be established.
TRS 1033 - Annex 4: WHO Guideline on data integrity | 11. Computerized systems | Audit trail | 15 | Audit trail | Audit Trail | 11.10. GxP systems should provide for the retention of audit trails. Audit trails should reflect, for example, users, dates, times, original data and results, changes and reasons for changes (when required to be recorded), and enabling and disenabling of audit trails.11.11. All GxP relevant audit trails should be enabled when software is installed and remain enabled at all times. There should be evidence of enabling the audit trail. There should be periodic verification to ensure that the audit trail remains enabled throughout the data life cycle. 11.12. Where a system cannot support ALCOA+ principles by design (e.g. legacy systems with no audit trail), mitigation measures should be taken for defined temporary periods. For example, add-on software or paperbased controls may be used. The suitability of alternative systems should be justified and documented. This should be addressed within defined timelines.
TRS 1033 - Annex 4: WHO Guideline on data integrity | 11. Computerized systems | Electronic signatures | 16 | Data lifecycle | Electronic signatures | 11.13. Each electronic signature should be appropriately controlled by, for example, senior management. An electronic signature should be: ■ attributable to an individual; ■ free from alteration and manipulation ■ be permanently linked to their respective record; and ■ date- and time-stamped. 11.14. An inserted image of a signature or a footnote indicating that the document has been electronically signed is not adequate unless it was created as part of the validated electronic signature process. The metadata associated with the signature should be retained.
TRS 1033 - Annex 4: WHO Guideline on data integrity | 11. Computerized systems | Data backup, retention and restoration | 16 | Data lifecycle | Data Backup | 11.15. Data should be retained (archived) in accordance with written policies and procedures, and in such a manner that they are protected, enduring, readily retrievable and remain readable throughout the records retention period. True copies of original records may be retained in place of the original record, where justified. Electronic data should be backed up according to written procedures. 11.16. Data and records, including backup data, should be kept under conditions which provide appropriate protection from deterioration. Access to such storage areas should be controlled and should be accessible only by authorized personnel. 11.17. Data retention periods should be defined in authorized procedures.11.18. The decision for and manner in which data and records are destroyed, should be described in written procedures. Records for the destruction should be maintained. 11.19. Backup and restoration processes should be validated. The backup should be done routinely and periodically be restored and verified for completeness and accuracy of data and metadata. Where any discrepancies are identified, they should be investigated and appropriate action taken.
CFR Title 21 Chapter I Subchapter C | part 211 | 211.68 | 9/29 | System Lifecycle | Qualification/validation | Automatic, mechanical, and electronic equipment : (a) Automatic, mechanical, or electronic equipment or other types of equipment, including computers, or related systems that will perform a function satisfactorily, may be used in the manufacture, processing, packing, and holding of a drug product. If such equipment is so used, it shall be routinely calibrated, inspected, or checked according to a written program designed to assure proper performance. Written records of those calibration checks and inspections shall be maintained. (b) Appropriate controls shall be exercised over computer or related systems to assure that changes in master production and control records or other records are instituted only by authorized personnel. Input to and output from the computer or related system of formulas or other records or data shall be checked for accuracy. The degree and frequency of input/output verification shall be based on the complexity and reliability of the computer or related system. A backup file of data entered into the computer or related system shall be maintained except where certain data, such as calculations performed in connection with laboratory analysis, are eliminated by computerization or other automated processes. In such instances a written record of the program shall be maintained along with appropriate validation data. Hard copy or alternative systems, such as duplicates, tapes, or microfilm, designed to assure that backup data are exact and complete and that it is secure from alteration, inadvertent erasures, or loss shall be maintained. (c) Such automated equipment used for performance of operations addressed by §§ 211.101(c) or (d), 211.103, 211.182, or 211.188(b)(11) can satisfy the requirements included in those sections relating to the performance of an operation by one person and checking by another person if such equipment is used in conformity with this section, and one person checks that the equipment properly performed the operation.
CFR Title 21 Chapter I Subchapter C | part 211 | 211.100 | 9/29 | Data lifecycle | Data review and approval | § 211.110 Sampling and testing of in-process materials and drug products (a) There shall be written procedures for production and process control designed to assure that the drug products have the identity, strength, quality, and purity they purport or are represented to possess. Such procedures shall include all requirements in this subpart. These written procedures, including any changes, shall be drafted, reviewed, and approved by the appropriate organizational units and reviewed and approved by the quality control unit (b) Written production and process control procedures shall be followed in the execution of the various production and process control functions and shall be documented at the time of performance. Any deviation from the written procedures shall be recorded and justified.
CFR Title 21 Chapter I Subchapter C | part 211 | 211.180 | 23/29 | Data lifecycle | Data retention | Subpart J—Records and Reports § 211.180 General requirements. (a) Any production, control, or distribution record that is required to be maintained in compliance with this part and is specifically associated with a batch of a drug product shall be retained for at least 1 year after the expiration date of the batch or, in the case of certain OTC drug products lacking expiration dating because they meet the criteria for exemption under § 211.137, 3 years after distribution of the batch. (b) Records shall be maintained for all components, drug product containers, closures, and labeling for at least 1 year after the expiration date or, in the case of certain OTC drug products lacking expiration dating because they meet the criteria for exemption under § 211.137, 3 years after distribution of the last lot of drug product incorporating the component or using the container, closure, or labeling. (c) All records required under this part, or copies of such records, shall be readily available for authorized inspection during the retention period at the establishment where the activities described in such records occurred. These records or copies thereof shall be subject to photocopying or other means of reproduction as part of such inspection. Records that can be immediately retrieved from another location by computer or other electronic means shall be considered as meeting the requirements of this paragraph. (d) Records required under this part may be retained either as original records or as true copies such as photocopies, microfilm, microfiche, or other accurate reproductions of the original records. Where reduction techniques, such as microfilming, are used, suitable reader and photocopying equipment shall be readily available. (e) Written records required by this part shall be maintained so that data therein can be used for evaluating, at least annually, the quality standards of each drug product to determine the need for changes in drug product specifications or manufacturing or control procedures. Written procedures shall be established and followed for such evaluations and shall include provisions for: (1) A review of a representative number of batches, whether approved or rejected, and, where applicable, records associated with the batch. (2) A review of complaints, recalls, returned or salvaged drug products, and investigations conducted under § 211.192 for each drug product. (f) Procedures shall be established to assure that the responsible officials of the firm, if they are not personally involved in or immediately aware of such actions, are notified in writing of any investigations conducted under §§ 211.198, 211.204, or 211.208 of these regulations, any recalls, reports of inspectional observations issued by the Food and Drug Administration, or any regulatory actions relating to good manufacturing practices brought by the Food and Drug Administration.
CFR Title 21 Chapter I Subchapter C | part 211 | 211.188 | 26/29 | Data lifecycle | Data capture/entry | § 211.188 Batch production and control records. Batch production and control records shall be prepared for each batch of drug product produced and shall include complete information relating to the production and control of each batch. These records shall include: (a) An accurate reproduction of the appropriate master production or control record, checked for accuracy, dated, and signed; (b) Documentation that each significant step in the manufacture, processing, packing, or holding of the batch was accomplished, including: (1) Dates; (2) Identity of individual major equipment and lines used; (3) Specific identification of each batch of component or in-process material used; (4) Weights and measures of components used in the course of processing; (5) In-process and laboratory control results; (6) Inspection of the packaging and labeling area before and after use; (7) A statement of the actual yield and a statement of the percentage of theoretical yield at appropriate phases of processing; (8) Complete labeling control records, including specimens or copies of all labeling used; (9) Description of drug product containers and closures; (10) Any sampling performed; (11) Identification of the persons performing and directly supervising or checking each significant step in the operation, or if a significant step in the operation is performed by automated equipment under § 211.68, the identification of the person checking the significant step performed by the automated equipment. (12) Any investigation made according to § 211.192. (13) Results of examinations made in accordance with § 211.134.
CFR Title 21 Chapter I Subchapter C | part 211 | 211.194 | 27/29 | Data lifecycle | Data capture/entry | § 211.194 Laboratory records. (a) Laboratory records shall include complete data derived from all tests necessary to assure compliance with established specifications and standards, including examinations and assays, as follows: (1) A description of the sample received for testing with identification of source (that is, location from where sample was obtained), quantity, lot number or other distinctive code, date sample was taken, and date sample was received for testing. (2) A statement of each method used in the testing of the sample. The statement shall indicate the location of data that establish that the methods used in the testing of the sample meet proper standards of accuracy and reliability as applied to the product tested. (If the method employed is in the current revision of the United States Pharmacopeia, National Formulary, AOAC INTERNATIONAL, Book of Methods,[1] or in other recognized standard references, or is detailed in an approved new drug application and the referenced method is not modified, a statement indicating the method and reference will suffice). The suitability of all testing methods used shall be verified under actual conditions of use. (3) A statement of the weight or measure of sample used for each test, where appropriate. (4) A complete record of all data secured in the course of each test, including all graphs, charts, and spectra from laboratory instrumentation, properly identified to show the specific component, drug product container, closure, in-process material, or drug product, and lot tested. (5) A record of all calculations performed in connection with the test, including units of measure, conversion factors, and equivalency factors. (6) A statement of the results of tests and how the results compare with established standards of identity, strength, quality, and purity for the component, drug product container, closure, in-process material, or drug product tested. (7) The initials or signature of the person who performs each test and the date(s) the tests were performed. (8) The initials or signature of a second person showing that the original records have been reviewed for accuracy, completeness, and compliance with established standards. (b) Complete records shall be maintained of any modification of an established method employed in testing. Such records shall include the reason for the modification and data to verify that the modification produced results that are at least as accurate and reliable for the material being tested as the established method. (c) Complete records shall be maintained of any testing and standardization of laboratory reference standards, reagents, and standard solutions. (d) Complete records shall be maintained of the periodic calibration of laboratory instruments, apparatus, gauges, and recording devices required by § 211.160(b)(4). (e) Complete records shall be maintained of all stability testing performed in accordance with § 211.166.
FDA : Guidance for Industry Part 11, Electronic Records; Electronic Signatures — Scope and Application | Approach to Specific Part 11 Requirements | 1. Validation | 6 | System Lifecycle | Qualification/validation | 1. Validation The Agency intends to exercise enforcement discretion regarding specific part 11 requirements for validation of computerized systems (§ 11.10(a) and corresponding requirements in § 11.30). Although persons must still comply with all applicable predicate rule requirements for validation (e.g., 21 CFR 820.70(i)), this guidance should not be read to impose any additional requirements for validation. We suggest that your decision to validate computerized systems, and the extent of the validation,take into account the impact the systems have on your ability to meet predicate rule requirements. You should also consider the impact those systems might have on the accuracy,reliability, integrity, availability, and authenticity of required records and signatures. Even if there is no predicate rule requirement to validate a system, in some instances it may still be important to validate the system. We recommend that you base your approach on a justified and documented risk assessment and a determination of the potential of the system to affect product quality and safety, and record integrity. For instance, validation would not be important for a word processor used only to generate SOPs. For further guidance on validation of computerized systems, see FDA’s guidance for industry and FDA staff General Principles of Software Validation and also industry guidance such as the GAMP 4 Guide
FDA : Guidance for Industry Part 11, Electronic Records; Electronic Signatures — Scope and Application | Approach to Specific Part 11 Requirements | 2. Audit Trail | 6 | Audit Trail | Audit Trail | 2. Audit Trail The Agency intends to exercise enforcement discretion regarding specific part 11 requirements related to computer-generated, time-stamped audit trails (§ 11.10 (e), (k)(2) and any corresponding requirement in §11.30). Persons must still comply with all applicable predicate rule requirements related to documentation of, for example, date (e.g., § 58.130(e)), time, or sequencing of events, as well as any requirements for ensuring that changes to records do not obscure previous entries. Even if there are no predicate rule requirements to document, for example, date, time, or sequence of events in a particular instance, it may nonetheless be important to have audit trails or other physical, logical, or procedural security measures in place to ensure the trustworthiness and reliability of the records.6 We recommend that you base your decision on whether to apply audit trails, or other appropriate measures, on the need to comply with predicate rule requirements, a justified and documented risk assessment, and a determination of the potential effect on product quality and safety and record integrity. We suggest that you apply appropriate controls based on such an assessment. Audit trails can be particularly appropriate when users are expected to create, modify, or delete regulated records during normal operation.
FDA : Guidance for Industry Part 11, Electronic Records; Electronic Signatures — Scope and Application | Approach to Specific Part 11 Requirements | 3. Legacy Systems | 7 | System Lifecycle | Qualification/validation | The Agency intends to exercise enforcement discretion with respect to all part 11 requirements for systems that otherwise were operational prior to August 20, 1997, the effective date of part 11, under the circumstances specified below. This means that the Agency does not intend to take enforcement action to enforce compliance with any part 11 requirements if all the following criteria are met for a specific system: · The system was operational before the effective date. · The system met all applicable predicate rule requirements before the effective date. · The system currently meets all applicable predicate rule requirements. · You have documented evidence and justification that the system is fit for its intended use (including having an acceptable level of record security and integrity, if applicable). If a system has been changed since August 20, 1997, and if the changes would prevent the system from meeting predicate rule requirements, Part 11 controls should be applied to Part 11 records and signatures pursuant to the enforcement policy expressed in this guidance.
FDA : Guidance for Industry Part 11, Electronic Records; Electronic Signatures — Scope and Application | Approach to Specific Part 11 Requirements | 4. Copies of Records | 7 | Data lifecycle | True copies | 4. Copies of Records The Agency intends to exercise enforcement discretion with regard to specific part 11 requirements for generating copies of records (§ 11.10 (b) and any corresponding requirement in §11.30). You should provide an investigator with reasonable and useful access to records during an inspection. All records held by you are subject to inspection in accordance with predicate rules (e.g., §§ 211.180(c), (d), and 108.35(c)(3)(ii)). We recommend that you supply copies of electronic records by: · Producing copies of records held in common portable formats when records are maintained in these formats · Using established automated conversion or export methods, where available, to make copies in a more common format (examples of such formats include, but are not limited to, PDF, XML, or SGML) In each case, we recommend that the copying process used produces copies that preserve the content and meaning of the record. If you have the ability to search, sort, or trend part 11 records, copies given to the Agency should provide the same capability if it is reasonable and technically feasible. You should allow inspection, review, and copying of records in a human readable form at your site using your hardware and following your established procedures and techniques for accessing records.
FDA : Guidance for Industry Part 11, Electronic Records; Electronic Signatures — Scope and Application | Approach to Specific Part 11 Requirements | 5. Record Retention | 8 | Data lifecycle | Data retention | The Agency intends to exercise enforcement discretion with regard to the part 11 requirements for the protection of records to enable their accurate and ready retrieval throughout the records retention period (§ 11.10 (c) and any corresponding requirement in §11.30). Persons must still comply with all applicable predicate rule requirements for record retention and availability (e.g., §§ 211.180(c),(d), 108.25(g), and 108.35(h)). We suggest that your decision on how to maintain records be based on predicate rule requirements and that you base your decision on a justified and documented risk assessment and a determination of the value of the records over time. FDA does not intend to object if you decide to archive required records in electronic format to nonelectronic media such as microfilm, microfiche, and paper, or to a standard electronic file format (examples of such formats include, but are not limited to, PDF, XML, or SGML). Persons must still comply with all predicate rule requirements, and the records themselves and any copies of the required records should preserve their content and meaning. As long as predicate rule requirements are fully satisfied and the content and meaning of the records are preserved and archived, you can delete the electronic version of the records. In addition, paper and electronic record and signature components can co-exist (i.e., a hybrid8 situation) as long as predicate rule requirements are met and the content and meaning of those records are preserved.